MATERIAL SAFETY DATA SHEET $flr/a#m*

NOOU5UO2

National Welders

P.O. Box 31007

Charlotte, NC 28231, 704-333-5475

Emergency Telephone: 800-366-4422

ChemTrec: 800-424-S300

Issued: JANUARY 1, 1991

MAJOR SUPPLIERS Or CRYOGENICS AND WELDING EQUIPMENT

| SECT'ON 1. MATERIAL IDENTIFICATION J |  |  |
| --- | --- | --- |
| PRODUCT NAME | CAS tr | NATIONAL FIRE PROTECTION ASSOCIATION CODE 704 HMIS /f m >. H: 0 /\ /\ F; 0 \ ^th y\,R£ACWin/ R: 0 \/W\/ c • n x hazard / ' \. s |
| Helium | 7440-59-7 |  |
| I TRADE NAME AND SYNONYMS | DOT i.D. NO- |  |
| Helium | UN 1046 |  |
| CHEMICAL NAME AND SYNONYMS | DOT HAZARD CLASS |  |
| Helium Helium-4 | Nonflammable Gas |  |
| FORMULA CHEMICAL FAMILY | DESCRIPTION |  |
| He Rare Gas | Simple asphyxiant |  |

SECTION 2.  HEALTH HAZARD INFORMATION

TIME WEIGHTED AVERAGE EXPOSURE LIMIT

Threshold Limit Value: Simple asphyxiant - ACGIH (1984-85).

SYMPTOMS OF EXPOSURE

Symptoms of a single (acute) overexposure :

Swallowing - Unlikely route of exposure. This product is a gas at normal temperature and pressure.

Skin Absorption - None.

Inhalation - Asphyxiant. Moderate concentrations may cause headache, drowsiness, dizziness, excitation, excess salivation, vomiting and unconsciousness.

Skin Contact - No evidence of adverse effects. Contact - No evidence of adverse effects.

Effects of Repeated (Chronic) Overexposure - No evidence of adverse effects.

Other Effects of Overexposure - None currently known. This product is an asphyxiant. Lack of oxygen can cause death.

Medical Conditions Aggravated by Overexposure - A knowledge of the available toxicology information and of the physical and chemical properties of the material suggest that overexposure is unlikely to aggravate existing medical conditions,

toxicological properties

N/A

RECOMMENDED FIRST AID TREATMENT

Swallowing - This product is a gas at normal temperature and pressure.

Skin - Wash with soap and water.

Inhalation - Remove to fresh air. Give artificial respiration if not breathing.

Give oxygen if breathing is difficult. Call a physician.

.Eyes ~ Flush with water.

(Continued on Paae 4}

Emergency Telephone: 800-866-4422

704-333-5475

ChemTrec: 800-424-9300

Page 1 of 4

| ACTION 3, PHYSICAL DATA |  |
| --- | --- |
| •iLiN'G point 76Q mm.Hcj | LIQUID DENSITY AT BOILING POINT |
| -268. 9°C (-452°F) | 7.802 Ib/ft3 |
| FOR PRESSURE @ 70°F (?0°fM | GAS DENSITY AT 70°F. 1 Atm ' |
| ' Gas | 0.0103 Ib/ft-* |
| LU8HJTY IN WATER | FREEZING POINT |
| Negligible | -272°C (-457. 6°F @ 25 Atm) |
| APQRATION RATE | SPECIFIC GRAVITY (AIR = 1) |
| N/A | Gas |
| PEARANCE AND OOOP |  |
| jlorless gas at normal temperature and pres | ssure; odorless. |

r§i

| SECTION 4. F!RE AND EXPLOSION HAZARD DATA |  |
| --- | --- |
| flash point auto ignition temperature | FLAMMABLE UNITS % BY VOLUME |
| N/A N/A | N/A |
| extinguishing media Helium cannot catch fire. | ELECTRICAL CLASSIFICATION |
| Jse media appropriate for surrounding fire. | j |
| SPECIAL. FiREFIGHTING PROCEDURES | UNUSUAL FIRE AND EXPLOSION HAZARDS |
| See Page 4. | See Page 4 . |
| "AZARDCUS MIXTURES OF OTHER LIOUIDS, SOLIDS OR GASES |  |
| None |  |
| ^_^___ |  |
| SECTION 5. REACTIVITY DATA |  |
| S. ABILITY CONDITIONS TO AVOID | HAZARDOUS POLYMERIZATION CONDITIONS TO AVOID |
| Unstable D , Stabie 13 N/A | May Occur D None currently Will Not Occur S known. |
| ij\A,OMPAT!8!LITY (Materials to Avoid) ^n<* oar-onf-ly | HAZARDOUS DECOMPOSITION PRODUCTS |
| cncwn. Helium is chenically inert. | None |

8. SPiLL, LEAK AND DISPOSAL PROCEDURES

is;

No

tIgg§JO_SEJ[AKENjN CASE MATERIAL IS RELEASED OR SPILLED

I Evacuate all personnel from danger area. Use self-contained breathing apparatus j where needed.  Shut off leak if without risk. Ventilate area of leak or move leaking container to well-ventilated area. Test area, especially confined areas, for sufficient oxygen content prior to permitting re-entry of personnel.

Slowly release into atmosphere outdoors. Discard any product, residue, disposable container or liner in an environmental manner, in full compliance with federal, state and local regulations.

pyi^nTONj^jp^^

|RlSPJ^TORY^RCTECJjgN:_     '	~	"""	~			" ~			"~ '

< Select in accordance with OSHA 29 CFR 1910.134. Respirators shall be acceptable to ™"\ and NIOSH.

! VENTILATJON

LOCAL EXHAUST

Preferred

MECHANICAL

OTHER

Acceotable

N/A

rtOTEGTIVE GLOVES    ""	   '

Preferred for cylinder handling.

EYE PROTECTION

Select in accordance with OSHA 29 CFR 1910.132 and 1910.133.

OTHER PROTECTIVE EQUIPMENT

Metatarsal shoes for cylinder handling. Select in accordance with OSHA 29 CFR
1910.32 -and 1910.133 '	'

| SECTION 8. SPECIAL PRECAUTIONS AND COMMENTS |  |
| --- | --- |
| SPECIAL LABELING INFORMATION | : |
| SPECIAL HANDLING RECOMMENDATIONS | to be Store and empty . |
| Use piping and equipment adequately designed to withstand pressures encountered. Can cause rapid suffocation due to oxygen deficiency, use with adequate ventilation. Close valve when not. in use and when |  |

Do not strike arc on cylinder. Do not "ground cylinder.

SPECIAL STORAGE RECOMMENDATIONS

Store with adequate ventilation.

SPECIAL PACKAGING RECOMMENDATIONS

OTHER RECOMMENDATIONS OR PRECAUTIONS

SPECIAL NOTES:

About the information in this Bulletin:

"Various Government agencies (i.e., Department of Transportation, Occupational Safety and Health Administration, Food and Drug Administration and others) may have specific regulations concerning the transportation, handling, storage or use of this product which will not be reflected in this data sheet. The customer should review these regulations to ensure that he is in full compliance.

Information contained in this material safety data sheet is offered without charge for use by technically qualified personnel at their discretion and risk. Ail statements, technical information and recommendations contained herein are based on tests and data which we believe to be reliable, but the accuracy or completeness thereof is not guaranteed and no warranty o! any kind is made with respect thereto. This information is no! intended as a license to operate under or a recommendation to practice or infringe any paten! of this Company or others covering any process, composition of matter or use.

Sines the Company shall have no control of the use of the product described herein, the Company assumes no liability for loss or damage incurred from the proper or improper use of such product.

Page 3 of 4

SPECIAL NOTES:

FIRST AID TREATMENT (Contineud)

NOTE TO PHYSICIAN: There is no specific antidote. This product is inert. Treatment should be. directed at the control of symptoms and the clinical condition.

SPECIAL FIRE FIGHTING PROCEDURES

Evacuate all personnel from danger area.  Immediately deluge containers with water spray from maximum distance until cool, then move containers away from fire area if without risk.

UNUSUAL FIRE AND EXPLOSION HAZARDS

Helium {high pressure gas) cannot catch fire. Container may rupture due to heat of fire. Mb part of a container should be subjected to a temperature higher than 52 °C (approximately 125°F). Most containers are provided with a pressure relief device designed to vent contents when they are exposed to elevated temperatures.